**FORMULARZ SZACOWANIA WARTOŚCI ZAMÓWIENIA NA:**

**DOSTAWĘ CZĘŚCI ZUŻYWALNYCH DO CYTOMETRU PRZEPŁYWOWEGO FACS ARIA DLA MIĘDZYNARODOWEGO CENTRUM BADAŃ NAD SZCZEPIONKAMI PRZECIWNOWOTWOROWYMI UNIWERSYTETU GDAŃSKIEGO**

**pełna nazwa Wykonawcy:** .............................................................................................................................

**dokładny adres** (siedziba Wykonawcy)**:** ….....................................................................................................
**przedstawiciel Wykonawcy** (imię i nazwisko): ..............................................................................................
**telefon kontaktowy:** …………………………………………............................................................................

**e-mail:** ….…..…………….……………………………………………………………………………..………………

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Lp.** | **Przedmiot zamówienia** | **Nr katalogowy** | **Ilość** | **W przypadku rozwiązania równoważnego należy wykazać spełnienie wymagań** | **Producent** | **Cena jednostkowa netto w PLN** | **Wartość netto w PLN** **(kolumna 7 x kolumna 4)** |
| ***1*** | ***2*** | ***3*** | ***4*** | ***5*** | ***6*** | ***7*** | ***8*** |
| 1 | O-ring 1.75 IN inner diam. X1.87 IN outer diam.  | 337897 | 3 |  |  |  |  |
| 2 | Integrated nozzles: 70 micron  | 647339 | 1 |  |  |  |  |
| 3 | Integrated nozzles: 85 micron | 647340 | 1 |  |  |  |  |
| 4 | Integrated nozzles: 100 micron | 647341 | 1 |  |  |  |  |
| 5 | Integrated nozzles: 130 micron  | 643943 | 1 |  |  |  |  |
| 6 | Standard nozzle O-rings | 33308407 | 1 |  |  |  |  |
| 7 | Sample injection tubing (12-inch lengths)  | 641059 | 3 |  |  |  |  |
| 8 | Sample injection tubing (7-inch lengths)  | 641475 | 3 |  |  |  |  |
| 9 | Ferrule  | 335108 | 3 |  |  |  |  |
| 10 | Ferrule-removal tool  | 335690 | 1 |  |  |  |  |
| 11 | Collet  | 19-66455-00 | 3 |  |  |  |  |
| 12 | Pinch valve tubing  | 641900 | 3 |  |  |  |  |
| 13 | Sample line filters (50 micron) | 649049 | 3 |  |  |  |  |
| 14 | Sheath fluid filter (also used for ethanol shutdown tank filter) | 661744 | 3 |  |  |  |  |
| 15 | Fluid filter (for DI water, bleach, and ethanol tanks)  | 335916 | 3 |  |  |  |  |
| 16 | Air filter, inline, 0.3 micron (2) | 641913 | 1 |  |  |  |  |
| 17 | Waste sensor probe (6-level)  | 334915 | 1 |  |  |  |  |
| 18 | Cap for 5-L container (3) | 335916 | 4 |  |  |  |  |
| 19 | O-rings (10)  | 340086 | 2 |  |  |  |  |
| 20 | O-rings (3)  | 641860 | 2 |  |  |  |  |
| 21 | O-ring, tank, ethyl and sheath | 642877 | 8 |  |  |  |  |
| 22 | Drop charge cable assembly  | 343358 | 2 |  |  |  |  |
| 23 | Swab, micro head 3.2 x 1.5 x 10, 70-mm LG  | 643290 | 6 |  |  |  |  |
| 24 | Autoclavable 10-L container | 340261 | 1 |  |  |  |  |
| 25 | Auxiliary 5-L container | 333504 | 3 |  |  |  |  |
| 26 | Sheath sensor probe  | 64410907 | 1 |  |  |  |  |
| 27 | Auxiliary sensor probe (non-ethanol) | 343835 | 1 |  |  |  |  |
| 28 | Auxiliary sensor probe (ethanol)  | 642874 | 1 |  |  |  |  |
| 29 | Baffle SPA 10L waste tank  | 33850507 | 1 |  |  |  |  |
| 30 | Sheath Tank Assembly  | 64385907 | 1 |  |  |  |  |
|  |  | RAZEM: |  |

**Oferujemy wykonanie zamówienia w terminie: ……………………….. dni roboczych**

 ………………………………………… ……........................., dnia ............................r.

 (podpis)